| PROJECT O&M MANUAL: 2007601065-0-701 DATE: 9/10/09 DISTRIBUTOR: AMJ EQUIPMENT CORPORATION PROJECT NAME: ### CITY OF JUPITER PROJECT #: P02505 EQUIPMENT: (3) H2SO4 DOSING SYS. (1) INHIB DOSING SYS. (3) NaOH DOSING SYS. (1) POLYMER DOSING SKID SYSTEM. (8) DUAL PUMP CTRL PANELS AND TERMINAL BOXES (16) SPARE PARTS KITS (1) SPARE PARTS PKG PER CHEM SERVICE | 1 | ### GENERAL INFORMATION PROMINENT WARRANTY START-UP & INSTALLATION GUIDELINES PUMP SELECTION TIPS TROUBLESHOOTING GUIDELINES |
| --- | --- | --- |
|  | 2 | ## H2S04 DOSING SYSTEM PUMPS & SKID DRAWINGS (4) S2CAHM12090SST2180UDC110C PUMP w/ UNIV CTRL CABLE DWG. 2007601065-D-200 and –201: (2) P2_S2CA_316SSTh_H2SO4 SKID SYS. (2) S2CAHM07220SST2180UDC110C PUMP w/ UNIV CTRL CABLE (PERMEATE SVC) DWG. 2007601065-D-202: (1) P2_S2CA_316SSTh_H2SO4_PERMEATE DWG. 2007601065-B-400: (3) CUSTOM PP & LEXAN SKID STAND / ENCLOSURES |
|  | 3 | # H2S04 DOSING SYSTEMS PIPING COMPONENTS ST. GOBAIN 316SST/PTFE FLEXIBLE TUBING APOLLO 76-100 SERIES SST BALL VALVES ACCUDRAW SST/GLASS CALIBRATION COLUMN BLACOH SST/PTFE PULSATION DAMPENER ASHCROFT 4-1/2” SST PRESSURE GAUGE & SST ISOLATOR (0-100 PSI) PROMINENT SST BACK PRESSURE & PRESSURE RELIEF VALVES MUELLER 125-SS SST BASKET STRAINER |
|  | 4 | # SCALE INHIBITOR DOSING SYSTEM PUMPS & SKID DRAWING (2) S1CAH12017PVT2170UDC110C PUMP w/ UNIV CTRL CABLE DWG. 2007601065-D-203: (1) P2_S1CA_CPVC_SCALE INHIB. SKID SYS. DWG. 2007601065-B-400: (1) CUSTOM PP & LEXAN SKID STAND / ENCLOSURE |
|  | 5 | # SCALE INHIBITOR DOSING SYSTEM PIPING COMPONENTS ASAHI TYPE 21 TRU-UNION CPVC BALL VALVES ACCUDRAW PVC CALIBRATION COLUMN BLACOH CPVC/VITON PULSATION DAMPENER ASHCROFT 4-1/2” SST PRESSURE GAUGE & ZAVODA CPVC ISOLATOR (0-100 PSI GRIFFCO CPVC BACK PRESSURE & PRESSURE RELIEF VALVES HAYWARD CPVC BASKET STRAINER WELD-ON P-724 ADHESIVE/ P-70 PRIMER & SPEARS CPVC/VITON SCH. 80 FTGS |
|  | 6 | # NaOH DOSING SYSTEM PUMPS & SKID DRAWINGS (2) S2CAHM07220SST2180UDC110C PUMP w/ UNIV CTRL CABLE DWG. 2007601065-D-204: (1) P2_S2CA_316SSTh_CAUSTIC SKID SYS. (4) S1CAHM12017SST218OUDC110C PUMP w/ UNIV CTRL CABLE DWG. 2007601065-D-205 thru –206: (2) P2_S1CA_316SSTh_CAUSTIC SKID SYS. DWG. 2007601065-B-400: (3) CUSTOM PP & LEXAN SKID STAND / ENCLOSURES |
|  | 7 | # NaOH DOSING SYSTEMS PIPING COMPONENTS ST. GOBAIN 316SST/PTFE FLEXIBLE TUBING APOLLO 76-100 SERIES SST BALL VALVES ACCUDRAW SST/GLASS CALIBRATION COLUMN BLACOH SST/PTFE PULSATION DAMPENER ASHCROFT 4-1/2” SST PRESSURE GAUGE & SST ISOLATOR (0-60 PSI) PROMINENT SST BACK PRESSURE& PRESSURE RELIEF VALVES MUELLER 125-SS SST BASKET STRAINER |
|  | 8 | # POLYMER DOSING SYSTEM PUMP (2) GALA0708PVT400UDC02100 PUMP w/ UNIV CTRL CABLE DWG. 2007601065-D-207: (1) P2_GALA_PVC_POLYMER SKID SYS. DWG. 2007601065-B-400: (1) CUSTOM PP & LEXAN SKID STAND / ENCLOSURE |
|  | 9 | # POLYMER DOSING SYSTEM PIPING COMPONENTS ASAHI TYPE 21 TRU-UNION PVC BALL VALVES ACCUDRAW PVC CALIBRATION COLUMN BLACOH CPVC/VITON PULSATION DAMPENER ASHCROFT 4-1/2” SST PRESSURE GAUGE & PVC ISOLATOR (0-100 PSI) PROMINENT PVC BACK PRESSURE & PRESSURE RELIEF VALVES HAYWARD PVC BASKET STRAINER WELD-ON P-724 ADHESIVE/ P-70 PRIMER & SPEARS PVC/VITON SCH. 80 FTGS |
|  | 10 | # ELECTRICAL DRAWINGS # (DUAL PUMP CONTROL PANEL – REMOTE MOUNTED) 2007601065-C-300-001: ENCLOSURE & SUB-PANEL LAYOUT 2007601065-C-301 (-001 thru –002): WIRING SCHEMATIC 2007601065-C -302-001: TERMINAL STRIP DETAILS & INTERCONNECT DIAGRAM 2007601065-C -303-001: BILL OF MATERIALS (TWO PUMP TERMINAL BOX – SKID MOUNTED) 2007601065-C-304-001 |
|  | 11 | # ELECTRICAL PANEL COMPONENTS CONTROL PANEL COMPONENTS |
|  | 12 | # SPARE PARTS (1) SPARE PARTS PKG PER CHEM SERVICE (SEE SPREADSHEET LISTING) |
|  | 13 | ## TEST & INSPECTION REPORTS |