## power calcualtor for UV
Electric usage is measured in kilowatt-hours.
1 watt-hour is the equivalent of 1 watt of power used for 1 hour.
1 kilowatt-hour is the equivalent of 1000 watt-hours used for 1 hour.
Enter kW Values ONLY in grey box to calculate the cost to operate the ProMinent UV "S" systems with 95% efficient ballast:
• The power rating or wattage of the UV system, in KW. | 9 | 9 | 9 | 9 | 9 | 9 | 9
• The time the UV system is switched on, in hours | 24 | 20 | 16 | 12 | 8 | 4 | 0
• The cost per KWh in dollars: | 0.11 | 0.11 | 0.11 | 0.11 | 0.11 | 0.11 | 0.11
Cost to operate system/day, in dollars: | 23.76 | 19.8 | 15.84 | 11.88 | 7.92 | 3.96 | 0
Cost to operate system/month, in dollars: | 712.8 | 594 | 475.2 | 356.4 | 237.6 | 118.8 | 0
Cost to operate sysem/year, in dollars: | 8553.6 | 7128 | 5702.4 | 4276.8 | 2851.2 | 1425.6 | 0
Estimated Cost using Dulcodes A EPS systems | 5987.52 | 4989.6 | 3991.68 | 2993.76 | 1995.84 | 997.92 | 0
** Note: Other manufactures may or do not use ballasts with high efficiencies, therefore the cost to operate will be higher.**