## Slide 1: D1C/b

## Slide 2: Summary
The Dulcometer D1C/b is the latest in measurement and control from ProMinent
The D1C/b replaces the D1C/a in many applications
Features and exceptions are listed on the following slides.

## Slide 3: Key features – D1Cb
One analog output (record or control)
One digital input
Feed forward signal – pulse only
Trend display (bar graph)
Calibration log (last 10 events)
Error log (last 10 events)
No pH compensation
P/PID control

## Slide 4: Key features – D1Cb
2 pulse frequency outputs
2 power relays (limit, control, timer)
1 alarm relay
Temperature compensation for pH and conductivity
Power supply 90-253 VAC
Same measured variables as D1C/a

## Slide 5: Exceptions
Use D1Ca when:
2 Analog Outputs are needed
pH Compensation is needed (chlorine)
Feed Forward via Analog Signal
Temperature via Analog Signal
Servo motor control