## Sheet1
Chlorine Dioxide Application Data Sheet Requirements
SECTION 1: General Quote Information
1.1 |  | Company
1.2 |  | Contact Name
1.3 |  | Contact Phone / Fax
1.4 |  | Contact e-mail Address
1.5 |  | Project Name
1.6 |  | End User / Site Location
1.7 |  | Who to Receive Quote
1.8 |  | Date Quote Required
1.9 |  | Type of Quote
1.10 |  | Required Budgetary Cost
SECTION 2: Site Conditions
2.1 |  | Available Floor Space (L x W x H)
2.2 |  | Location
2.3 |  | Ambient Temperature (min/max)
SECTION 3: Application Data
3.1 |  | Intended application of the treated water: |  | ___________________________________________
__________________________________________________________________________________
3.2 |  | Source of water to be treated:
3.3 |  | Disinfection or oxidation method presently used (chemical, concentration, dosing/control method):
__________________________________________________________________________________
__________________________________________________________________________________
3.4 |  | Quantity of water to be treated:
GPM
Min: GPM Max: GPM
3.5 |  | Temperature of water to be treated | Deg. F
3.6 |  | Chlorine Dioxide Dosage Required: PPM
3.7 |  | Chlorine Dioxide Residual limit | PPM
3.8 | a) | Direct Injection into process line
| b) | Process line pressure | PSIG
3.9 | a) | Is ClO2 solution going to storage
| b) | If yes, what % solution to prepare | Per Cent (%)
| c) | Volume of storage tank | Gallons
3.1 |  | How is the Generator controlled
3.11 |  | Any flow meter available in process water line
3.12 |  | If Yes to 3.11 above, flow meter type:
3.13 |  | Quality of water to be treated: | (Please provide a copy of the water analysis if available)
(A complete analysis would be optimal, however the following
parameters are paramount in determining the demand for chlorine
dioxide by these substances)
_________
3.14 |  | Please provide a sketch of the treatment process flow diagram including the possible location and
the injection point.
Note on F9: Your company name
Note on F10: Person who can answer questions about project
Note on F15: Indicate if you want quote sent directly to your end user.
Note on F16: Please allow 1-2 days minimum once we have your requirements. Allow 1-2 weeks minimum for large Municipal / Spec jobs
Note on F17: Indicate if quote is to be buy/resale or commission based
Note on F18: If you know the customer only has x dollars to spend, please indicate
Commission
Buy/Resale
Firm
Budgetary(+/- 15%)
Commission
Buy/Resale
Firm
Indoors
Outdoors with cover
city water
well water
Spring
Other (please specify)
Constant Flow
Fluctuating Flow
Yes
No
By Flow
Manual
By Residual
Feed Forward
yes
No
Contact type flow meter
Inductive flow meter
pH
Hardness __________ppm CaCO3
Iron (Fe)
Manganese (Mn)
Nitrite (NO2)
KMnO4 Consumed
Yes
No
Yes
No