| PFC S/D# |  | Serial Number: |  |  | Date: |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Customer: |  |  | Location: |  |  |  |  |
| Cust P/O#: |  |  | Equipment Number: |  |  |  |  |

| Pump Make/Model | Pump IdentCode | Serial Number | Rated Strokes | Tested Strokes |
| --- | --- | --- | --- | --- |
|  |  |  | per/min | per/min |
|  |  |  | per/min | per/min |
|  |  |  | per/min | per/min |
|  |  |  | per/min | per/min |
| Pump Make/Model | Pump IdentCode | Serial Number | Rated Output | Tested Output |
|  |  |  | mL/h gph | mL/h gph |
| SAME | AS | ABOVE |  |  |

PUMP OUTPUT TEST CRITERIA

|  | Operating Pressure |  | Operating Temperature |  | Test Duration |
| --- | --- | --- | --- | --- | --- |
| Maximum |  | PSI |  |  F | 30MIN |

SYSTEM PIPING STATIC LEAK TEST CRITERIA

| WARNING : DO NOT EXCEED 150PSI STATIC PRESSURE DURING TEST |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Max. Test to: | 150 |  | Psig @ |  | 70 |  F for |  | 2 | hours | ### LRC= |  |  |  |  |  |
| Test Material: |  |  |  | PVC/CPVC |  |  |  | 316 Stainless Steel |  |  |  |  | Other: |  |  |
| Test Media: |  |  |  | Potable Water |  |  |  | Compressed Air |  |  |  |  | Gas: |  |  |
| Test Gauge(s): |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Special Instructions: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |

FINAL TEST RESULTS						Date

| Pressure, psig | Atmosphere,  F | Media,  F | Start Time | Finish Time | Duration |
| --- | --- | --- | --- | --- | --- |
| 150 | 70 | 75 | 12:00 | 2:00 | 2hrs |