| PFC S/D#: |  |  |  | Serial Number: UL Number: |  |  |  | Date: |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Customer: |  |  |  |  | Location: |  |  |  |  |
| Cust P/O#: |  |  |  |  | Equipment Number: |  |  |  |  |

| ### SPECIFICATIONS INSPECTION |  |  |  |
| --- | --- | --- | --- |
| 1.1 | Assembly checked against customer order |  |  |
| 1.2 | Assembly checked against project drawing |  |  |
| 1.3 | Panel layout correct |  |  |
| 1.4 | Name tags correct and straight |  |  |
| 1.5 | Panel paint correct and good condition |  |  |
| ### PHYSICAL / STRUCTURAL INSPECTION |  |  |  |
| 2.1 | All components tight in cabinet |  |  |
| 2.2 | All components tight in door |  |  |
| 2.3 | All terminal connections tight |  |  |
| 2.4 | All ground connections tight |  |  |
| 2.5 | All wiring straight and tied |  |  |
| 2.6 | All coatings have smooth, even finish |  |  |
| 2.7 | All fasteners are tight |  |  |
| 2.8 | All exposed fastener threads exceeding three (3) to be trimmed and filed |  |  |
| 2.9 | Panel clean inside and out of all debris and markings |  |  |
| 2.10 | No sharp edges |  |  |
| ELECTRICAL INSPECTION |  |  |  |
| 3.1 | Ring out point to point |  |  |
| 3.2 | Power applied __________ Voltage AC DC |  |  |
| 3.3 | All components functional in cabinet |  |  |
| 3.4 | All components functional in door |  |  |
| 3.5 | PLC programming correct and functioning properly |  |  |
| 3.6 | Drive functioning properly |  |  |
| 3.7 | Motor rotation correct |  |  |
| 3.8 | Instrumentation functioning properly |  |  |
| 3.9 | Special components functioning properly |  |  |
| 3.10 | Operation of all circuits tested |  |  |
| 3.11 | Calibration complete |  |  |

| DOCUMENTATION INSPECTION |  |  |  |
| --- | --- | --- | --- |
| 4.1 | As-built information documented |  |  |
| 4.2 | Functional description of system operation documented |  |  |
| 4.3 | Spare Parts List complete |  |  |
| 4.4 | Instruction Manual(s) complete |  |  |
| 4.5 | All customer required documentation enclosed |  |  |
| 4.6 | Drawing shipped with panel |  |  |
| 4.7 | Copy of inspection report in panel |  |  |
| 4.8 | Note of Delivery complete |  |  |
| ADDITIONAL INFORMATION |  |  |  |

REPORT CERTIFICATION						Date:

| Panel Assembly and Test |  | Systems Assembly and Test |  | Quality Assurance |  | Customer |
| --- | --- | --- | --- | --- | --- | --- |