Company:      	 Date:

Contact:

Address:

City:      	State:      	Zip:

Phone:   (     )     -     	Fax:  (     )     -     	e-Mail:

IMPORTANT:

The purpose of this form is to ensure that all plumbing and electrical connections are completed and that the equipment is properly installed and ready for operation prior to the service visit from the ProMinent representative.  ProMinent reserves the right to terminate any scheduled site visit if this form is not satisfactorily completed.

This form must be completed and sent to Gary Pfeffer:   e-mail: garyp@prominent.us    or,

fax: (412) 788-0704 at least five (5) days prior to the scheduled service visit.

Please check the appropriate box if work has been completed.  Leave blank if not completed or not applicable:

Visual:

All equipment is installed in designated location & position

All components checked against order

Assembly checked against project drawing

All pumps, monitors, and accessories are installed as specified

All tagging installed where required

All flow dependent devices are oriented in operational direction of flow

All documentation & drawings available

All spare parts available

All utilities such as air, water, electricity, etc. are available

Plumbing:

All pipes and fittings are correct diameter and thread size

All joints and connections are sealed with specified type sealant

All piping components are securely supported – no stress on any PVC components.

Compatible flange gaskets included where applicable

All pulsation dampeners have been charged to 80% of system pressure

All piping to and from the ProMinent equipment is securely connected with the proper fittings.

All devices have been hydrostatically tested for leaks and all leaks corrected

Chemical, water, and any other fluids required are piped to the appropriate device and working

Electrical:

Correct voltage electrical power is provided to all circuit breaker supply points and is functional

All pumps, motors, controllers, and accessory equipment requiring power are electrically connected

Verify that supplied power is in accordance with National Electrical Code

All control wiring to/from customer SCADA, DCS, or PLC is connected properly

All wiring from accessory devices such as water meters is terminated and functional.

I have personally inspected the equipment and checked off the above.  I assume responsibility for the accuracy of this form and understand that any incorrect information will be cause for ProMinent to leave the jobsite and charge for all expenses.  A new check list form and PO will be required for a return visit.

Completed by:      	 Date: